# Instruction Book 2-56010R

## A.W.W.  VOLTOHMYST  TYPE   A56010

(Serial No. 153 onwards)

Amalgamated Wireless (Australasia) Limited

47 York Street,

SYDNEY

1-56010R									              (i)

### INDEX

SECTION									     Page No.

1.		DESCRIPTION:

1.1	Application							1

1.2	Mechanical Construction					3

1.3	Design Characteristics and Circuit Description		3

1.4	Summary of Controls, Facilities and Electrical

Characteristics							6

1.4.1	Facilities						6

1.4.2	Controls and Input Connections			7

1.4.3	Electrical Characteristics				7

1.5	Probes and Cables used with the Voltohmyst	 A56010	9

1.5.1	Cables and Probes Supplied with the Instrument	9

1.5.2	Probes Not Normally Supplied with the Instrument.	10

2.	METHOD OF USE:

2.1	Warning Notes						13

2.2	Setting up Procedures						14

2.3	D.C. Voltage Measurement					14

(using D.C. and Direct Probes)

2.4 	Centre-zero Readings						15

2.5	A.C. Voltage Measurement

(With Direct probe alone)					15

2.6	Resistance Measurement					16

2.6.1	Normal Measurement of Resistance

up to 1,000 M.ohm						16

2.6.2	High resistance (insulation) Measurement 		16

2.7	Current Measurement						17

2.8	Measurement and Calculation of dbm			17

3.	MAINTENANCE:

3.1	Valve Replacement						19

3.2	Checking the Condition of the 1.5V. cell			19

3.3	Electrical Balance Check					19

3.4	Calibration							20

3.4.1	D.C. Calibration					20

3.4.2	A.C. Calibration					21

3.4.3	A.C. Compensation Adjustment (C2)			21

4. 	COMPONENT SCHEDULE:							23

5. 	DIAGRAMS:

Voltohmyst A56010					Drg. No.     Fig. No.

Circuit						5601002	7

Probes and Cables used with Voltohmyst	56010D7	8